McCarthy Hall

| 50 Sharpless Street |
| --- |
| Built: 1960 | Size: 58,068 sf |
| Acquired: N/A | Condition: Fair |
| Last Renovation: 1995 | Function: AUX |

A long-range plan to replace six of the other residence halls with new structures is being developed, and McCarthy Hall will no longer be used as Residence Hall space, once replacement student rooms have been constructed elsewhere on campus. The building will be renovated, using Commonwealth capital dollars, as E&G classroom and faculty office space.

Present Use: Residence Hall

Disability Access: Ground floor and 1st floor only- no elevator

Past Projects: 1995 General-Furniture & Carpet, 1997 Windows, 1998 Roof, 2001 LAN/Telephone/CATV, 2002 Sprinkler/Fire Alarm, 2004 Carpet and Paint.

Scheduled Projects or Capital Renovations: $16.2 million renovation into classrooms and faculty office space.

Description of Construction: Reinforced concrete foundation and structure, built-up roof, masonry brick veneer exterior walls, concrete slab floors.

| Condition and Use Assessment: |
| --- |
| Deferred Maintenance (2007): $ 1,560,000 | Est Replacement Cost (2007): $ 11,959,000 |
| Facility Condition Index: 0.13 | Deficiency/SF: $ 26.60 |
| Yearly Electric Use Cost: $ | Yearly Water Use Cost $ |